## Slide 1: Modern Detectors in high-resolution ground-based observational Solar Physics
M. Collados
Instituto de Astrofísica de Canarias
European Solar Telescope

## Slide 2: Major Groundbased Solar Observatories
ATST 4m
BBSO
NSO KP
NSO SP
SST
THEMIS
VTT
DOT
GREGOR
EST 4m
Crimea
Baikal
Hida
Huairou
Himalya 2 m
Udaipur 0.5m
existing
planned
Fuxian 1m

## Slide 3: Aperture Sizes
VTT
0.70 m
DOT
0.45 m
GREGOR
1.5 m
SST
0.98 m
THÉMIS
0.90 m
McMath
1.6 m
DST
0.75 m
Big Bear
0.60 m
NST
1.6 m
EST & ATST
4 m

## Slide 4
High-resolution Imagery
Notes: <number>
<footer>
<header>
<date/time>

## Slide 5
1 raw image; tint = 10 ms
AO corrected
Corrected image
MOMFDB correction using 100 raw images
High-resolution Imagery

## Slide 6
High-resolution Imagery

## Slide 7
High-resolution Polarimetric Imagery
Notes: <number>
<footer>
<header>
<date/time>
Este es el aspecto genérico que se recomienda para el resto de transparencias o
DIAPOSITIVAS DE LA PONENCIA.
La estructura, formato y colores de los textos que se vayan incorporando al crear nuevas diapositivas están definidos en el patrón.
Para modificar el “PONENTE” en esta diapositiva:
Debe hacerse directamente sobre el patrón de diapositiva. Para ello, basta con ir a la opción “VER”, y dentro de ahí a “PATRÓN” y “PATRÓN DE DIAPOSITIVA”. Una vez allí, podremos modificar el texto en cuestión.
Para incluir otros LOGOS o instituciones en esta diapositiva:
Recomendamos simplicidad y sintonía de colores.
Si otras instituciones deben figurar en la presentación, podremos incluir los logos (preferiblemente “logos” en vez de nombres) de las mismas en el PATRÓN DE DIAPOSITIVA.
Para ello, basta con ir a la opción “VER”, y dentro de ahí a “PATRÓN” y “PATRÓN DE DIAPOSITIVAS”. Una vez allí, incluir los logos pertinentes.

## Slide 8
Long-slit spectropolarimetry
2D spectrographs
are required
(IFUS, fibers, …)

## Slide 9
Temporal evolution (photosphere)
Notes: <number>
<footer>
<header>
<date/time>
Este es el aspecto genérico que se recomienda para el resto de transparencias o
DIAPOSITIVAS DE LA PONENCIA.
La estructura, formato y colores de los textos que se vayan incorporando al crear nuevas diapositivas están definidos en el patrón.
Para modificar el “PONENTE” en esta diapositiva:
Debe hacerse directamente sobre el patrón de diapositiva. Para ello, basta con ir a la opción “VER”, y dentro de ahí a “PATRÓN” y “PATRÓN DE DIAPOSITIVA”. Una vez allí, podremos modificar el texto en cuestión.
Para incluir otros LOGOS o instituciones en esta diapositiva:
Recomendamos simplicidad y sintonía de colores.
Si otras instituciones deben figurar en la presentación, podremos incluir los logos (preferiblemente “logos” en vez de nombres) de las mismas en el PATRÓN DE DIAPOSITIVA.
Para ello, basta con ir a la opción “VER”, y dentro de ahí a “PATRÓN” y “PATRÓN DE DIAPOSITIVAS”. Una vez allí, incluir los logos pertinentes.

## Slide 10
Temporal evolution (chromosphere)
Notes: <number>
<footer>
<header>
<date/time>
Este es el aspecto genérico que se recomienda para el resto de transparencias o
DIAPOSITIVAS DE LA PONENCIA.
La estructura, formato y colores de los textos que se vayan incorporando al crear nuevas diapositivas están definidos en el patrón.
Para modificar el “PONENTE” en esta diapositiva:
Debe hacerse directamente sobre el patrón de diapositiva. Para ello, basta con ir a la opción “VER”, y dentro de ahí a “PATRÓN” y “PATRÓN DE DIAPOSITIVA”. Una vez allí, podremos modificar el texto en cuestión.
Para incluir otros LOGOS o instituciones en esta diapositiva:
Recomendamos simplicidad y sintonía de colores.
Si otras instituciones deben figurar en la presentación, podremos incluir los logos (preferiblemente “logos” en vez de nombres) de las mismas en el PATRÓN DE DIAPOSITIVA.
Para ello, basta con ir a la opción “VER”, y dentro de ahí a “PATRÓN” y “PATRÓN DE DIAPOSITIVAS”. Una vez allí, incluir los logos pertinentes.

## Slide 11
Photosphere
Chromosphere

## Slide 12
  Simultaneous observation of different solar layers
  Highest spatial resolution (0.04” @ 500 nm)
  Temporal evolution at different solar layers
  Magnetic field stratification  Polarimetric measurements
  Magnetic field evolution at different solar layers
  Magnetic coupling of the solar atmosphere

SIMULTANEOUS USE OF DIFFERENT INSTRUMENTS
SCIENCE DRIVERS

## Slide 13
Polarimetric techniques
Pol.
R (2 , 2)
R (1 , 1)
Ntrans
I
Q
U
V
Ntrans = [1 1 0 0] R (2, 2) R (1 , 1)
I
Q
U
V


N = M I  I = D N // D M = 1





## Slide 14
EST INSTRUMENTATION
Instruments:
  Broad-band imager
  Narrow-band tunable filter spectropolarimeter
  Grating spectropolarimeter
Number of instrument channels:
  Broad-band imager: 3 (goal 5)
  Visible narrow-band filter (λ<1100 nm): up to 3
  NIR narrow-band filter (λ>700 nm): up to 2
  Visible spectrograph (λ<1100 nm): up to 5
  NIR spectrograph (λ>700 nm): up to 3

## Slide 15
D1
D4
75-25
25/75
NBNIR 1
(700-900 nm)
NBNIR2
(900-1100 nm)
D2
NB1 (390-550 nm)
BB1 CaII core
BB3 H CaII IR
SPvis
SPNIR
30-70
10-90
10-90
D3
NB2 (550-700 nm)
NB3
(700-1100 nm)
Lower floor
Upper floor
Beam from telescope
BB2
CaII wing
NIR
VIS
BLUE
GREEN-RED
RED
EST Simultaneous instruments

## Slide 16
Different instruments require different detectors
EST DETECTORS
Common requirements:
  Integration time < 10 ms (to freeze atmosphere)
  Global shutter (same atmospheric degradation at all pixels)
  4 k x 4k (1 x 1 arcmin2 for optimum resolution with imaging
  instruments; and largest FOV for 2D spectrographs)
  Expected flux: (~2 - 4 Me-/px/s)
  Well depth > 40000 e-
  Photon-noise limited  read noise < 1/3 * noise (5-10% well
  depth)  read noise < 15 e-

## Slide 17
Common requirements (cont’d):
  Dark current: few e-/s
  Pixel size: 10-20 m
  Wavelength range: 390 -1600 nm (2300 nm)
  14 bits/px
  QE: as large as possible; > 60% (Blue)
  > 90% (Vis)
  > 50% (NIR)
  Good (and stable) cosmetics
EST DETECTORS

## Slide 18
EST DETECTORS (BROAD-BAND IMAGERS)
Particular requirements:
  Frame rate: 30-100 fr/s, for post-facto reconstruction
  techniques (speckle, MOMFBD)
  Simultaneous exposure of all channels
  (to better than 1 ms)  simultaneous triggering

## Slide 19
DETECTORS FOR POLARIMETRY (IMAGERS AND 2D SPECTROGRAPHS)
Particular requirements:
  Dead time between exposures: 0 ms (photons are scarce
  for polarimetry; signals are tremendously small)
  Frame rate: 100 fr/s
  Simultaneous exposure of all channels (to better than
  1 ms)  simultaneous triggering
  Polarization modulation on pixel
  Polarization modulation frequency >> frame rate; KHz
  Number of modulation states: 4 to 8

## Slide 20: Adaptive Optics
VTT Tenerife, 2002

## Slide 21
EST AO Wavefront Detector
Geometry for high order on-axis WFS
8cm subaperture size
1852 subapertures total
FoV: 10´´

## Slide 22: Multi-Conjugate Adaptive Optics
VTT Tenerife, 2005
AO off
Conventional AO
MCAO

## Slide 23: Multi-Conjugate Adaptive Optics
Wide-field wavefront
sensor

## Slide 24
geometry for low order
off-axis WFS
31cm subaperture size
128 subapertures total
FoV: 70´´
EST MCAO Wavefront Detector

## Slide 25
Requirements:
  8 bits/pixel
  400 μs readout time (max), goal: 300 μs (2000-3000 fr/s)
  Global shutter
  ~200 μs exposure time
  < 70e- readout noise
  60000e- full well capacity
  AO: 1024x1024 pixel (minimum); 1300x1300 pixel (goal)
  MCAO: 2300x2300 pixel
EST AO & MCAO Wavefront
Sensor Detector

## Slide 26
  High spatial resolution and large FOV lead to large-format
  sensors
  Atmospheric turbulence makes it necessary to have
  very short integration times ( < 10 ms)
  Image reconstruction techniques require exposure
  synchronization better than 1 ms
  Polarization signals induced by the magnetic field are
  very low, typically of the order of 10-3 of the observed
  intensity  noise sources have to be reduced to a minimum
  Polarization measurements are better if modulation is done
  on the pixel and at a high frequency (kHz)
  MCAO requires very fast large-format detectors
CONCLUSIONS